## survey
type | name | label | hint | constraint | constraint_message | required | required_message | appearance | default | readonly | relevant | calculation | choice_filter | repeat_count | label::language1 | hint::language1 | media::audio | media::image | body::accuracyThreshold | bind::esri:fieldType | bind::esri:fieldLength | bind::esri:fieldAlias | body::esri:inputMask
geopoint | geo_location | Point |  |  |  | yes | Geometry point is missing. | [14 empty] | Point
text | project | Project | [19 empty] | Project
select_one buildings | building | Building |  |  |  | yes | Building is missing. | [14 empty] | Building
text | location | Location | [19 empty] | Location
date | date_ | Date | [19 empty] | Date
email | surveyor | Surveyor | [19 empty] | Surveyor
select_one yes_no | _1_19 | 1.19) If the accessible route crosses a curb, is there a curb ramp? | [19 empty] | 1.19
image | _1_19_photo | 1.19) Photo | [19 empty] | 1.19 Photo
select_one yes_no | _1_20 | 1.20) Is the running slope of the curb ramp no steeper than 1:12, i.e. for every inch of height change there are at least 12 inches of curb ramp run? | [19 empty] | 1.20
decimal | _1_20_measurement | 1.20) Measurement | FF.II | [18 empty] | 1.20 Measurement
image | _1_20_photo | 1.20) Photo | [19 empty] | 1.20 Photo
select_one yes_no | _1_21 | 1.21) Is the cross slope of the curb ramp, excluding flares, no steeper than 1:48? | [19 empty] | 1.21
decimal | _1_21_measurement | 1.21) Measurement | FF.II | [18 empty] | 1.21 Measurement
image | _1_21_photo | 1.21) Photo | [19 empty] | 1.21 Photo
select_one yes_no | _1_22 | 1.22) Is the curb ramp, excluding flares, at least 36 inches wide? | [19 empty] | 1.22
decimal | _1_22_measurement | 1.22) Measurement | FF.II | [18 empty] | 1.22 Measurement
image | _1_22_photo | 1.22) Photo | [19 empty] | 1.22 Photo
select_one yes_no | _1_23a | 1.23a) At the top of the curb ramp is there a level landing (slope no steeper than 1:48 in all directions) that is at least 36 inches long and at least as wide as the curb ramp? | [19 empty] | 1.23a
decimal | _1_23a_measurement | 1.23a) Measurement | FF.II | [18 empty] | 1.23a Measurement
select_one yes_no | _1_23b | 1.23b) If there are curb ramp flares, are the slopes of the flares no steeper than 1:10, i.e. for every inch of height change there are at least 10 inches of flare run? | [19 empty] | 1.23b
decimal | _1_23b_measurement | 1.23b) Measurement | FF.II | [18 empty] | 1.23b Measurement
image | _1_23_photo | 1.23) Photo | [19 empty] | 1.23 Photo
select_one yes_no | _1_24a | 1.24a) If the landing at the top is less than 36 inches long, are there curb ramp flares? | [19 empty] | 1.24a
select_one yes_no | _1_24b | 1.24b) Are the slopes of the flares no greater than 1:12, i.e. for every inch of height change there are at least 12 inches of flare run? | [19 empty] | 1.24b
decimal | _1_24b_measurement | 1.24b) Measurement | FF.II | [18 empty] | 1.24b Measurement
image | _1_24_photo | 1.24) Photo | [19 empty] | 1.24 Photo
text | curb_ramp_notes | General Notes about Curb Ramps | [19 empty] | Notes
select_multiple solutions2 | solutions2 | Routes Solutions | [19 empty] | Solutions: Routes
text | solutions_other | Other Solutions | [19 empty] | Solutions: Other

## choices
list_name | name | label | image | label::language1
yes_no | yes | Yes
yes_no | no | No
buildings | 853A16 | Central: Bldg 4
buildings | 853A17 | Central: Bldg 5
buildings | 853A19 | Central: Bldg 6
buildings | 853A31 | Central: North Annex
buildings | 853A32 | Central: Conference Center
buildings | 853A14 | Central: South Wing
buildings | 853A13 | Central: NE Wing
buildings | 853A12 | Central: NW Wing
buildings | 853A11 | Central: Admin Bldg
buildings | 852A12 | Central: Warehouse
buildings | 853A22 | Central: Materials Lab
buildings | 852A11 | Central: Repair Shop
buildings | 852A21 | Central: Boiler Plant
buildings | 852A16 | Central: Motor Pool
buildings | 855A24 | Central: Chiller Plant
buildings | 855A11 | Central: Salt Bldg
buildings | 852A14 | Central: Buildings & Grounds Shop
buildings | 858A22 | Central: Radio Bldg
buildings | 852A15 | D1: State Maint
buildings | 853A21 | D1: District Office
buildings | 855A16 | D1: Pole Bldg
buildings | 855A52 | D1: Bid Shed
buildings | 852A13 | D1: Sign Shop
buildings | 855A18 | D1: Auction Butler Bldg
buildings | 855A12 | D1: Comm Bldg
buildings | 855A17 | D1: HazMat Hoop
buildings | 851A31 | Ames: Maintenance Garage
buildings | 854A61 | Ames: Brine Bldg
buildings | 858A44 | Ames: 50/50 Mix Bldg
buildings | 855A35 | Ames: Chem Storage
buildings | 854A62 | Ames: Reclamation Brine
buildings | 854A33 | Ames: Salt Bldg
buildings | 855A33 | Ames: Storage Bldg
buildings | 854A42 | Ames: Hoop Bldg
buildings | 853A35 | D1: Ames DL Station
buildings | 857H61 | D1: I-35 SB Scale
buildings | RAI35SBANKENY | D1: Ankeny I-35 SB Rest Area
buildings | RAI35NBANKENY | D1: Ankeny I-35 NB Rest Area
buildings | RAI35SBSTORYCITY | D1: Story City I-35 SB Rest Area
buildings | RAI35NBSTORYCITY | D1: Story City I-35 NB Rest Area
buildings | 773A21 | Ankeny: MVD Bldg
solutions2 | 0 | Add another Handrail
solutions2 | 1 | Add Handrails on both sides
solutions2 | 2 | Add switch to operate automatic door
solutions2 | 3 | Adjust door opening time
solutions2 | 4 | Asphalt Holes
solutions2 | 5 | Concrete Cracks
solutions2 | 6 | Curb Ramp obstructs route
solutions2 | 7 | Curb Ramp Required
solutions2 | 8 | Detectable warnings
solutions2 | 9 | Door Width
solutions2 | 10 | Handrail top extensions
solutions2 | 11 | Handrail-Cross section dimension
solutions2 | 12 | Main Entrance
solutions2 | 13 | Ramp
solutions2 | 14 | Route width
solutions2 | 15 | Swing Doors
solutions2 | 16 | Tripping hazard
solutions2 | 17 | Pavement Opening

## settings
form_title | form_id | instance_name | submission_url | default_language | version
ADA P1: Curb Ramps

## types
Field Types
integer | Integer (i.e., whole number) input.
decimal | Decimal input. |  | This XLS has a few rules to help you author XLSForms
text | Free text response. |  | The Type colum is restricted to the types supported by Survey123
select_one [list_name] | Multiple choice question; only one answer can be selected. Edit to reference the correct list name. Ignore any warnings after changing values. |  | The name column will invalidate cells with repeated values or strings with spaces
select_multiple [list_name] | Multiple choice question; multiple answers can be selected. Edit to reference the correct list name. Ignore any warnings after changing values. |  | You are still on your own, learn XLSForm syntax here http://xlsform.org
note | Display a note on the screen, takes no input. |  | But these few rules can help you a bit
geopoint | Collect a single GPS coordinates.
date | Date input.
time | Time input.
dateTime | Date and time input.
image | Takes a picture.
begin group | Begin a group of questions.
end group | End a group of questions.
begin repeat | Begin a set of repeating questions.
end repeat | End a set of repeating questions.
calculate | Performs a calculation on values in the form. The calculate field will contain the outcome of the calculation.
username | When signed into ArcGIS Online, this field is automatically populated with the account username.
email | When signed into ArcGIS Online, this field is automatically populated with the account email address.
hidden | This will create a field in your feature service that will not be dislplayed on the form. Use the bind::esri:fieldType and bind::esri:fieldLength columns to specify the data schema for this field.
barcode | Scan a barcode or a QR code.
start | Start date and time of the survey.
end | End date and time of the survey.
Required
Leave blank if field is not required.
yes | Field is required to contain a value before form can be completed.
Read Only
Leave blank if field is not read-only
yes | Field is read-only. Any values cannot be edited.
Appearance
signature | Applies to image fields.Presents a UI for signature capture. The signature will be added to the feature as an attachment.
minimal | Applies to select_one, select_multiple, and barcode fields, as well as repeats. Presents answers in a more space-efficient manner.
multiline | Applies to text fields. Will make the text box multiple lines long.
likert | Apples to select_one. Makes the answer choices appear as a Likert scale.
month-year | Applies to date fields. Select a month and year only for the date.
year | Applies to date fields. Select only a year for the date.
week-number | Applies to date fields. Select a week number.
distress | Applies to integer. A highly specific widget to measure distress.
calculator | Applies to integer and decimal fields. Displays a custom calculator widget.
numbers | Applies to integer and decimal fields. Displays a custom keyboard.
spinner | Applies to integer and decimal fields. Adds buttons to increase and decrease value.
horizontal | Applies to select_one and select_multiple fields. Displays answer choices horizontally, but in columns.
horizontal-compact | Applies to select_one and select_multiple fields. Displays answer choices horizontally.
autocomplete | Applies to select_one fields. Answer choices appear in a pull-down menu, with text input to narrow down options.
Default Values
today() | Set the default date to today's date.
item1,item2,item3 | Use a comma separated list to set default values for select_multiple fields.
Cascading Selects | Create additional attribute columns for your pick lists in the choices tab.
Add an expression to the choices_filter column to restrict subsequent pick lists using these attributes.
Formula Operators | These operators can be used in constraint, relevant and calculation fields
Operator | Description | Example
¦ | Computes two node-sets | //book ¦ //cd
+ | Addition | 6 + 4
- | Subtraction | 6 - 4
* | Multiplication | 6 * 4
div | Division | 8 div 4
= | Equal | price=9.80
!= | Not equal | price!=9.80
< | Less than | price<9.80
<= | Less than or equal to | price<=9.80
> | Greater than | price>9.80
>= | Greater than or equal to | price>=9.80
or | or | price=9.80 or price=9.70
and | and | price>9.00 and price<9.90
mod | Modulus (division remainder) | 5 mod 2
HTML Formatting
Format Type | Example
FontColor | <font color="red">Text in red </font>
Hyperlink | <a href="http://www.esri.com">Link to esri web site</a>
Bold | <b>This text is bold</b>
Italics | <i>This text is in italics</i>
H1 | <H1>Header 1</H>
H2 | <H2>Header 2</H>
CENTER | <center>This text is centered</center>
blockquote | <blockquote>Blockquote (indented)</blockquote>
Underlined | One word is <u>underlined</u>
Typewrite | One word is <tt>typewrite</tt> font
Strikethrough | One word is <s>strikethrough</s> font
Unordered list | <ul>To frame an unordered list,</ul> <li>and for individual points</li>
Regular Expressions
Subexpression | Matches
^ | Matches beginning of line.
$ | Matches end of line.
. | Matches any single character except newline. Using m option allows it to match newline as well.
[...] | Matches any single character in brackets.
[^...] | Matches any single character not in brackets
\A | Beginning of entire string
\z | End of entire string
\Z | End of entire string except allowable final line terminator.
re* | Matches 0 or more occurrences of preceding expression.
re+ | Matches 1 or more of the previous thing
re? | Matches 0 or 1 occurrence of preceding expression.
re{ n} | Matches exactly n number of occurrences of preceding expression.
re{ n,} | Matches n or more occurrences of preceding expression.
re{ n, m} | Matches at least n and at most m occurrences of preceding expression.
a¦ b | Matches either a or b.
(re) | Groups regular expressions and remembers matched text.
(?: re) | Groups regular expressions without remembering matched text.
(?> re) | Matches independent pattern without backtracking.
\w | Matches word characters.
\W | Matches nonword characters.
\s | Matches whitespace. Equivalent to [\t\n\r\f].
\S | Matches nonwhitespace.
\d | Matches digits. Equivalent to [0-9].
\D | Matches nondigits.
\A | Matches beginning of string.
\Z | Matches end of string. If a newline exists, it matches just before newline.
\z | Matches end of string.
\G | Matches point where last match finished.
\n | Back-reference to capture group number "n"
\b | Matches word boundaries when outside brackets. Matches backspace (0x08) when inside brackets.
\B | Matches nonword boundaries.
\n, \t, etc. | Matches newlines, carriage returns, tabs, etc.
\Q | Escape (quote) all characters up to \E
\E | Ends quoting begun with \Q
Esri Field Type
esriFieldTypeDate | Date
esriFieldTypeDouble | Double-precision floating point numbers
esriFieldTypeInteger | Whole numbers
esriFieldTypeString | A series of alphanumeric symbols
esriFieldTypePointZ | Adds Z axis support to geopoint question
esriFieldTypeGUID | Globally Unique Identifier
Mathematical Functions
Operator | Function
pi() | Returns pi.
acos(value) | Returns the arccosine of the value.
asin(value) | Returns the arcsine of the value.
atan(value) | Returns the arctangent of the value.
cos(value) | Returns the cosine of the value
sin(value) | Returns the sine of the value.
tan(value) | Returns the tangent of the value as degrees in an angle.
exp(value) | Returns the natural exponent of the value.
exp10(value) | Returns ten to the power of the value.
log(value) | Returns the natural logarithm of the value.
log10(value) | Returns the base-ten logarithm of the value.
sqrt(value) | Returns the square root of the value.
min(value1,value2) | Returns the minimum value in the given range.
max(value1,value2) | Returns the maximum value in the given range.
random | Returns a random value between 0 (inclusive) and 1 (exclusive).
atan2(value1,value2) | Returns the arctangent of the quotient of the values.
round(value1,value2) | Returns the rounded value.
pow(value,power) | Returns the value to the power specified.
Special Characters | The following characters can not be used in the name field of a question
,
;
-
/
$
.
(
)
Reserved Keywords | The following database keywords can not be used in the name field of a question
ENTITY
ADD
ALL
ALTER
AND
ANY
AS
ASC
AUTHORIZATION
BACKUP
BEGIN
BETWEEN
BREAK
BROWSE
BULK
BY
CASCADE
CASE
CHECK
CHECKPOINT
CLOSE
CLUSTERED
COALESCE
COLLATE
COLUMN
COMMIT
COMPUTE
CONSTRAINT
CONTAINS
CONTAINSTABLE
CONTINUE
CONVERT
CREATE
CROSS
CURRENT
CURRENT_DATE
CURRENT_TIME
CURRENT_TIMESTAMP
CURRENT_USER
CURSOR
DATABASE
DBCC
DEALLOCATE
DECLARE
DEFAULT
DELETE
DENY
DESC
DISK
DISTINCT
DISTRIBUTED
DOUBLE
DROP
DUMP
ELSE
END
ERRLVL
ESCAPE
EXCEPT
EXEC
EXECUTE
EXISTS
EXIT
EXTERNAL
FETCH
FILE
FILLFACTOR
FOR
FOREIGN
FREETEXT
FREETEXTTABLE
FROM
FULL
FUNCTION
GOTO
GRANT
GROUP
HAVING
HOLDLOCK
IDENTITY
IDENTITY_INSERT
IDENTITYCOL
IF
IN
INDEX
INNER
INSERT
INTERSECT
INTO
IS
JOIN
KEY
KILL
LEFT
LIKE
LINENO
LOAD
MERGE
NATIONAL
NOCHECK
NONCLUSTERED
NOT
NULL
NULLIF
OF
OFF
OFFSETS
ON
OPEN
OPENDATASOURCE
OPENQUERY
OPENROWSET
OPENXML
OPTION
OR
ORDER
OUTER
OVER
PERCENT
PIVOT
PLAN
PRECISION
PRIMARY
PRINT
PROC
PROCEDURE
PUBLIC
RAISERROR
READ
READTEXT
RECONFIGURE
REFERENCES
REPLICATION
RESTORE
RESTRICT
RETURN
REVERT
REVOKE
RIGHT
ROLLBACK
ROWCOUNT
ROWGUIDCOL
RULE
SAVE
SCHEMA
SECURITYAUDIT
SELECT
SEMANTICKEYPHRASETABLE
SEMANTICSIMILARITYDETAILSTABLE
SEMANTICSIMILARITYTABLE
SESSION_USER
SET
SETUSER
SHUTDOWN
SOME
STATISTICS
SYSTEM_USER
TABLE
TABLESAMPLE
TEXTSIZE
THEN
TO
TOP
TRAN
TRANSACTION
TRIGGER
TRUNCATE
TRY_CONVERT
TSEQUAL
UNION
UNIQUE
UNPIVOT
UPDATE
UPDATETEXT
USE
USER
VALUES
VARYING
VIEW
WAITFOR
WHEN
WHERE
WHILE
WITH
WITHIN GROUP
WRITETEXT
A
ABS
ABSENT
ACCORDING
ADA
ALL
ALLOCATE
ANALYSE
ANALYZE
AND
ANY
ARE
ARRAY
ARRAY_AGG
ARRAY_MAX_CARDINALITY
AS
ASC
ASENSITIVE
ASYMMETRIC
ATOMIC
ATTRIBUTES
AUTHORIZATION
AVG
BASE64
BEGIN_FRAME
BEGIN_PARTITION
BERNOULLI
BINARY
BIT_LENGTH
BLOB
BLOCKED
BOM
BOTH
BREADTH
C
CALL
CARDINALITY
CASE
CAST
CATALOG_NAME
CEIL
CEILING
CHARACTERS
CHARACTER_LENGTH
CHARACTER_SET_CATALOG
CHARACTER_SET_NAME
CHARACTER_SET_SCHEMA
CHAR_LENGTH
CHECK
CLASS_ORIGIN
CLOB
COBOL
COLLATE
COLLATION
COLLATION_CATALOG
COLLATION_NAME
COLLATION_SCHEMA
COLLECT
COLUMN
COLUMNS
COLUMN_NAME
COMMAND_FUNCTION
COMMAND_FUNCTION_CODE
CONCURRENTLY
CONDITION
CONDITION_NUMBER
CONNECT
CONNECTION_NAME
CONSTRAINT
CONSTRAINT_CATALOG
CONSTRAINT_NAME
CONSTRAINT_SCHEMA
CONSTRUCTOR
CONTAINS
CONTROL
CONVERT
CORR
CORRESPONDING
COUNT
COVAR_POP
COVAR_SAMP
CREATE
CROSS
CUBE
CUME_DIST
CURRENT_CATALOG
CURRENT_DATE
CURRENT_DEFAULT_TRANSFORM_GROUP
CURRENT_PATH
CURRENT_ROLE
CURRENT_ROW
CURRENT_SCHEMA
CURRENT_TIME
CURRENT_TIMESTAMP
CURRENT_TRANSFORM_GROUP_FOR_TYPE
CURRENT_USER
CURSOR_NAME
DATALINK
DATE
DATETIME_INTERVAL_CODE
DATETIME_INTERVAL_PRECISION
DB
DEFAULT
DEFERRABLE
DEFINED
DEGREE
DENSE_RANK
DEPTH
DEREF
DERIVED
DESC
DESCRIBE
DESCRIPTOR
DETERMINISTIC
DIAGNOSTICS
DISCONNECT
DISPATCH
DISTINCT
DLNEWCOPY
DLPREVIOUSCOPY
DLURLCOMPLETE
DLURLCOMPLETEONLY
DLURLCOMPLETEWRITE
DLURLPATH
DLURLPATHONLY
DLURLPATHWRITE
DLURLSCHEME
DLURLSERVER
DLVALUE
DO
DYNAMIC
DYNAMIC_FUNCTION
DYNAMIC_FUNCTION_CODE
ELEMENT
ELSE
EMPTY
END
END-EXEC
END_FRAME
END_PARTITION
ENFORCED
EQUALS
EVERY
EXCEPT
EXCEPTION
EXEC
EXP
EXPRESSION
FALSE
FETCH
FILE
FILTER
FINAL
FIRST_VALUE
FLAG
FLOOR
FOR
FOREIGN
FORTRAN
FOUND
FRAME_ROW
FREE
FREEZE
FROM
FS
FULL
FUSION
G
GENERAL
GENERATED
GET
GO
GOTO
GRANT
GROUP
GROUPING
GROUPS
HAVING
HEX
HIERARCHY
ID
IGNORE
ILIKE
IMMEDIATELY
IMPLEMENTATION
IMPORT
IN
INDENT
INDICATOR
INITIALLY
INNER
INSTANCE
INSTANTIABLE
INTEGRITY
INTERSECT
INTERSECTION
INTO
IS
ISNULL
JOIN
K
KEY_MEMBER
KEY_TYPE
LAG
LAST_VALUE
LATERAL
LEAD
LEADING
LEFT
LENGTH
LIBRARY
LIKE
LIKE_REGEX
LIMIT
LINK
LN
LOCALTIME
LOCALTIMESTAMP
LOCATOR
LOWER
M
MAP
MATCHED
MAX
MAX_CARDINALITY
MEMBER
MERGE
MESSAGE_LENGTH
MESSAGE_OCTET_LENGTH
MESSAGE_TEXT
METHOD
MIN
MOD
MODIFIES
MODULE
MORE
MULTISET
MUMPS
NAMESPACE
NATURAL
NCLOB
NESTING
NEW
NFC
NFD
NFKC
NFKD
NIL
NORMALIZE
NORMALIZED
NOT
NOTNULL
NTH_VALUE
NTILE
NULL
NULLABLE
NUMBER
OCCURRENCES_REGEX
OCTETS
OCTET_LENGTH
OFFSET
OLD
ON
ONLY
OPEN
OR
ORDER
ORDERING
ORDINALITY
OTHERS
OUTER
OUTPUT
OVER
OVERLAPS
OVERRIDING
P
PAD
PARAMETER
PARAMETER_MODE
PARAMETER_NAME
PARAMETER_ORDINAL_POSITION
PARAMETER_SPECIFIC_CATALOG
PARAMETER_SPECIFIC_NAME
PARAMETER_SPECIFIC_SCHEMA
PASCAL
PASSTHROUGH
PATH
PERCENT
PERCENTILE_CONT
PERCENTILE_DISC
PERCENT_RANK
PERIOD
PERMISSION
PLACING
PLI
PORTION
POSITION_REGEX
POWER
PRECEDES
PRIMARY
PUBLIC
RANK
READS
RECOVERY
REFERENCES
REFERENCING
REGR_AVGX
REGR_AVGY
REGR_COUNT
REGR_INTERCEPT
REGR_R2
REGR_SLOPE
REGR_SXX
REGR_SXY
REGR_SYY
REQUIRING
RESPECT
RESTORE
RESULT
RETURN
RETURNED_CARDINALITY
RETURNED_LENGTH
RETURNED_OCTET_LENGTH
RETURNED_SQLSTATE
RETURNING
RIGHT
ROLLUP
ROUTINE
ROUTINE_CATALOG
ROUTINE_NAME
ROUTINE_SCHEMA
ROW_COUNT
ROW_NUMBER
SCALE
SCHEMA_NAME
SCOPE
SCOPE_CATALOG
SCOPE_NAME
SCOPE_SCHEMA
SECTION
SELECT
SELECTIVE
SELF
SENSITIVE
SERVER_NAME
SESSION_USER
SETS
SIMILAR
SIZE
SOME
SOURCE
SPACE
SPECIFIC
SPECIFICTYPE
SPECIFIC_NAME
SQL
SQLCODE
SQLERROR
SQLEXCEPTION
SQLSTATE
SQLWARNING
SQRT
STATE
STATIC
STDDEV_POP
STDDEV_SAMP
STRUCTURE
STYLE
SUBCLASS_ORIGIN
SUBMULTISET
SUBSTRING_REGEX
SUCCEEDS
SUM
SYMMETRIC
SYSTEM_TIME
SYSTEM_USER
T
TABLE
TABLESAMPLE
TABLE_NAME
THEN
TIES
TIMEZONE_HOUR
TIMEZONE_MINUTE
TO
TOKEN
TOP_LEVEL_COUNT
TRAILING
TRANSACTIONS_COMMITTED
TRANSACTIONS_ROLLED_BACK
TRANSACTION_ACTIVE
TRANSFORM
TRANSFORMS
TRANSLATE
TRANSLATE_REGEX
TRANSLATION
TRIGGER_CATALOG
TRIGGER_NAME
TRIGGER_SCHEMA
TRIM_ARRAY
TRUE
UESCAPE
UNDER
UNION
UNIQUE
UNLINK
UNNAMED
UNNEST
UNTYPED
UPPER
URI
USAGE
USER
USER_DEFINED_TYPE_CATALOG
USER_DEFINED_TYPE_CODE
USER_DEFINED_TYPE_NAME
USER_DEFINED_TYPE_SCHEMA
USING
VALUE_OF
VARBINARY
VARIADIC
VAR_POP
VAR_SAMP
VERBOSE
VERSIONING
WHEN
WHENEVER
WHERE
WIDTH_BUCKET
WINDOW
WITH
WITHIN
XMLAGG
XMLBINARY
XMLCAST
XMLCOMMENT
XMLDECLARATION
XMLDOCUMENT
XMLITERATE
XMLNAMESPACES
XMLQUERY
XMLSCHEMA
XMLTABLE
XMLTEXT
XMLVALIDATE